PLC TRAINING SET (FP-3A)

There exists Siemens S7-312C model PLC, which has 10 digital inputs and 6 digital outputs, in the training set.

All digital outputs of the PLC are connected to relays and 1/0 toggle switches of the digital inputs provide easiness to the user.

All input/outputs of the PLC, connection ports of the internal 24 V DC power supply are taken out of the surface of the panel via 4mm banana sockets. All connections are made by 4mm infitine joggle plug-in cables.

- Supply voltage 220 VAC/ 50 Hz

- Short-circuit protected, Switch Mode 24 VDC/4.5 A Power Supply

- Integrated 10 digital inputs, 6 digital outputs

- 6 internal relays for digital outputs

- 10 1/0 toggle switches for digital inputs

- Dimensions : 297mm x 300mm x 60mm

Accessories supplied with set

- USB/MPI programming cable

- IEC power cable

- 10 pcs 4 mm experiment cables

- Carriage case ( optional )