ENERGIZED LABORATORY DESK TENDER SPECIFICATIONS

- The desk need to be  made up of 45x45 anodized aluminium sigma profile.

- “T" slotted anodised aluminium panel channels should be suitable for M8 standart nut and should not need any special nut.

- The energy unit need to consist of

- 0-30V DC adjustable power supply

- Start/stop button

- Fuse protection

- 2 earth pin sockets

- 4mm banana sockets  need to be used for the connection ports of the power supply.

- There need to be steerable dual castors, all with brakes.

- Dimensions of the desk should be at least 1000x750x700 (mm).

- Height adjustable railed system can be added to the top of the desk.

- Computer case holder, sliding keyboard holder, monitor holder can be included to the desk.